The Nedo 210683-185 Extra Heavy-Duty Elevating tripod is designed for heavy-duty rotating lasers and 3D laser scanners.  
  
  
• Min. effective height approx. 33" / 0.90 m  
• Max. effective height approx. 119" / 3.10 m  
• Retracted length approx. 52" / 1.30 m  
• Weight 19 lbs. / 8.6 kg  
• Holding screw 5/8’’ x 11 thread  
• Tripod plate 4.3’’ / 110 mm  
• Telescopic section 2-fold  
• Adjustable column range 23’’ / 23’’ / 575 / 590 mm

A tripod with a camera lens

Description automatically generated